## Close Process Checklist
City of Wichita/Sedgwick County | [5 empty] | Residential | Yes
Operations & Maintenance Plan Checklist | [5 empty] | Commercial | No
Industrial
Submit completed forms to: | [5 empty] | Recreation
City of Wichita Public Works & Utilities, 455 N. Main 8th Floor, Wichita KS 67202; or | [5 empty] | Municipal
Sedgwick County Stormwater Management, 1144 S. Seneca, Wichita KS 67213. | [5 empty] | Other
Project Name:
Total Area of Project: |  | acres
Development Type: |  |  | Other:
Developer Name: |  |  | Contact: |  | Phone:
Email:
Engineer Name: |  |  | Contact: |  | Phone:
Email:
Directions:
(1) Fill-out this checklist completely and include it with the O&M Plan submittal. Incomplete plans and checklists will not be accepted.
(2) Indicate whether a plan element is included or not included in the submittal by choosing "Yes" or "No" from the dropdown list in the "Element Included?" column. The question must be answered for every plan element for this checklist to be considered complete. An explanation must be provided for all "No" answers.
NOTE: THE O&M PLAN IS A DOCUMENT THAT IS INTENDED FOR USE BY THE PROPERTY OWNER (I.E., NOT AN ENGINEER OR LANDSCAPE ARCHITECT) TO GUIDE IN THE INSPECTION AND MAINTENANCE OF SITE STORMWATER MANAGEMENT FACILITIES. IT IS THE IMPORTANT THAT THE O&M PLAN BE WRITTEN IN A MANNER THAT CAN BE UNDERSTOOD BY THE GENERAL PUBLIC. PLEASE CONSIDER THIS WHEN PREPARING THE O&M PLAN.
Operations & Maintenance Plan Checklist
# | Plan Element Description |  | Element Included? | Explanation/Notes
1.0 | General Information
1.1 | Digital copy of O&M plan. Include all sheets and submit as a single PDF file.
1.2 | Hard copy of all O&M Plan sheets.
1.3 | Final O&M Plans only: Digital copy of as-built plan, showing changes from approved designs as redlined items. Include all sheets and submit as a single PDF file.
1.4 | Narrative describing the name, location and function of all of the stormwater management facilities located on the property. Each facility must be identified using its proper name (as used in the Wichita/Sedgwick County Stormwater Manual).
1.5 | An Inspection and Maintenance Guidance sheet (8.5x11) for each stormwater management facility located on the property. Use guidance sheets provided in Volume 2, Chapter 3 of the Wichita/Sedgwick County Stormwater Manual, suitably modified (if necessary) to describe the required inspection and maintenance activities and the expected schedule/frequency for inspection and maintenance activities.
1.6 | An Inspection Checklist template (8.5x11) for each stormwater management facility located on the property. Use inspection templates provided in Volume 2, Chapter 3 the Wichita/Sedgwick County Stormwater Manual.
1.7 | Proprietary BMPs only: BMP inspection and maintenance guidance is not provided in the Wichita/Sedgwick County Stormwater Manual for proprietary BMPs. This information, including a suggested frequency for inspection and maintenance activities must be provided, in accordance with the BMP manufacturer's inspection and maintenance recommendations.
2.0 | Stormwater Facility Map
2.1 | Title block with address of project, phase or addition name, date of O&M plan, name/address of site design engineer/company.
2.2 | Date of completion of construction.
2.3 | Identifying label, type (using proper name in accordance with the Wichita/Sedgwick County Stormwater Manual) and location of all stormwater management facilities, with boundary lines for the facilities and all easements/reserves as applicable.
2.4 | Identifying label, type and location of all proprietary stormwater quality systems. Must include commercial name of the device, vendor name/address, manufacturer name, make, model and size details.
2.5 | Identifying label, type and location of all water quality volume reduction areas, with boundary lines for areas and all easements/reserves as applicable.
2.6 | Label and location of permanent signage for stormwater management facilities and water quality volume reduction areas located on the property.
2.7 | Scale (horizontal).
2.8 | Legend key.
3.0 | Cost Estimates
3.1 | Estimate(s) of the expected annual cost associated with routine inspection and maintenance of each and every stormwater management facility over the expected life of the facility(s).
3.2 | Estimate(s) of any non-routine costs associated with expected remedial maintenance (e.g., removal of sediment from a wet pond every 10 to 15 years) of each and every stormwater management facility over the expected life of the facility(s).
End of Checklist

## Sheet1
Development Types
Residential
Commercial
Industrial
Recreation
Municipal
Other